## Sheet1
TRI-COUNTY POOLS SERVICE
POOL INSPECTION REPORT
O 512-990-8899 / F 512-990-7322
Date of Inspection |  | 2025-01-20
Address of Pool |  | 8024 Carlton Ridge Cove
Inspection Requested By |  | Moreland, Jan
Pool Built By |  | Unknown
Inspector |  | Steve Lyon |  |  | Codes
Pool Size (surface area) |  | 700 Sq Ft |  |  | E - Excellent | P - Poor
Pool Shape |  | Freeform |  |  | G - Good | N - None
Pool Size (gallons) |  | 17000 |  |  | F - Fair | U-Unknown
POOL STRUCTURE | Code
Pool Level | G |  |  | Equipment Bonding |  | G
Plaster | G
Under Pinning | P
Visible Cracks | N |  |  | ELECTRICAL
Tile | G |  |  | Conduits |  | G
Bond Beam | G |  |  | Time Clocks |  | G
|  |  |  | Switches |  | G
DECKING |  |  |  | G.F.I. Outlet |  | G
Expansion Joints | G |  |  | Computer Control System |  | N
Additional Decking | G
Coping | G |  |  | MAINTENANCE EQUIPMENT
Thiokol - Joint | G |  |  | 4 in 1 Test Kit |  | N
|  |  |  | Telescopic Pole |  | N
DECK ACCESSORIES |  |  |  | Vacuum Head |  | N
Diving Board | N |  |  | Vacuum Hose |  | N
Slide | N |  |  | Pool Brush |  | N
Grab Rails | N |  |  | Leaf Net |  | N
Hand Rails | N
Ladders | N |  |  | EQUIPMENT
|  |  |  | Pool Light |  | P
|  |  |  | Pump - Size & Type |  | G
PLUMBING |  |  |  | Hayward 2 HP
Aerators | G |  |  | Filter - Size & Type |  | G
Fittings Pool | G |  |  | Hayward 60 Sq Ft DE
Fittings Spa | G |  |  | Heater - Size & Type |  | G
Skimmer(s) | G |  |  | Hayward 400k
Main Drain Pool | G |  |  | Chlorinator - Size & Type |  | P
Spa Drain | G |  |  | Aqua Rite Salt
Equipment Pad | G |  |  | Auto Pool Cleaner - Type |  | F
Valves & Unions | G |  |  | Polaris
Fill Line or Spout | N |  |  | Booster Pump - Type |  | N
Note: This report represents results of a visual inspection. Visual inspection means no
components of the pool or equipment were taken apart to diagnose needed repairs. Cost
estimates are intended to inform interested parties a rough idea of cost to repair.
COMMENTS & ESTIMATES FOR REPAIR(S) |  |  |  | Underpinning on pool needs to be
replaced $1,200.00. Polaris needs a tune up $350.00. Pool light needs new bulb & Lens
gasket $275.00. Salt generator should be removed & a tablet feeder installed $450.00